## SGDV3
TABLE_NAME	COLUMN_NAME	DATA_TYPE	COLUMN_SIZE	COLUMN_DESCRIPTION	SEQUENCE	IS_NULL	RELATION_TABLE	DESCRIPTION
alarm	id	numeric	38	(null)	alarm_seq	NO		Tabela referente ao historico de alarmes das usinas. / Os alarmes podem ser de Equipamento fora do ar, / Usina fora do ar ou variação dos telessinais.
alarm	tele_object_config_id	numeric	38	(null)	(null)	YES	tele_object_config
alarm	alarm_severity_id	numeric	38	(null)	(null)	NO	alarm_severity
alarm	date_time	timestamp	29	(null)	(null)	NO
alarm	acknowledgement_date	timestamp	29	(null)	(null)	YES
alarm	user_id	numeric	38	(null)	(null)	YES	users
alarm	clear_date	timestamp	29	(null)	(null)	YES
alarm	description	varchar	250	(null)	(null)	YES
alarm	acknowledgement_note	varchar	500	(null)	(null)	YES
alarm	power_station_id	numeric	38	(null)	(null)	YES
alarm	equipment_id	numeric	38	(null)	(null)	YES	equipment
alarm_severity	id	numeric	38	(null)	(null)	NO		Tabela referente a priorização dos alames sendo / 1 Crítica / 2 Alta / 3 Média / 4 Baixa / 5 Nao Apl. / 6 Urgente
alarm_severity	name	varchar	20	(null)	(null)	NO
alarm_severity	color	bpchar	6	(null)	(null)	NO
authority	id	numeric	38	(null)	authority_seq	NO		Tabela de autorização 1 SYSADMIN SYSADMIN 2 VIEW_ACCOUNT VIEW_ACCOUNT 3 SAVE_USER SAVE_USER 4 SEARCH_USERS SEARCH_USERS 5 VIEW_USER VIEW_USER 6 DELETE_USER DELETE_USER 7 SAVE_AUTHORITY SAVE_AUTHORITY 8 SEARCH_AUTHORITIESSEARCH_AUTHORITIES 9 VIEW_AUTHORITIES VIEW_AUTHORITIES 10 DELETE_AUTHORITY DELETE_AUTHORITY
authority	name	varchar	250	(null)	(null)	NO
authority	display_name	varchar	250	(null)	(null)	YES
authority_group	id	numeric	38	(null)	authority_group_seq	NO		Tabela de grupo de autorizações
authority_group	name	varchar	250	(null)	(null)	NO
authority_group_item	id	numeric	38	(null)	authority_group_item_seq	NO		Tabela de relacionamento entre autoridade e grupo de / Autoridade
authority_group_item	authority_id	numeric	38	(null)	(null)	YES	authority
authority_group_item	authority_group_id	numeric	38	(null)	(null)	YES	authority_group
city	id	numeric	38	(null)	city_seq	NO		Tabela de cadastro de cidades
city	name	varchar	50	(null)	(null)	NO
city	state_id	numeric	38	(null)	(null)	NO	state
config_mining	id	numeric	131089	(null)	mining_id_seq	NO		Tabela de historico do ultimo calculo. Utilizada para / guardar a última vez que o server realizou o calculo / Das tabelas energy, power e generation.
config_mining	name	varchar	100	(null)	(null)	NO
config_mining	value	varchar	100	(null)	(null)	NO
config_mining	mining_id	numeric	38	(null)	(null)	NO
configuration	name	varchar	30	(null)	(null)	NO		Tabela de configuração do sistema*
configuration	value	varchar	250	(null)	(null)	NO
configuration	id	numeric	38	(null)	configuration_seq	NO
correlation	id	numeric	38	(null)	correlation_seq	NO		Tabela de correlação
correlation	user_id	numeric	38	(null)	(null)	NO	users
correlation	name	varchar	50	(null)	(null)	NO
correlation	correlation_public	bool	1	(null)	(null)	NO
correlation	report_type	bpchar	1	C Correlação ou T Relatório de telemedidas	(null)	NO
correlation	graph_type	bpchar	1	I Individual ou U Unificado para a correlação	(null)	NO
correlation	interval	numeric	38	(null)	(null)	NO
correlation_item	id	numeric	38	(null)	correlation_item_seq	NO		Tabela de intens de correlação
correlation_item	correlation_id	numeric	38	(null)	(null)	NO	correlation
correlation_item	power_station_id	numeric	38	(null)	(null)	NO	power_station
correlation_item	equipment_id	numeric	38	(null)	(null)	NO	equipment
correlation_item	tele_object_config_id	numeric	38	(null)	(null)	NO	tele_object_config
country	id	numeric	38	(null)	country_seq	NO		Tabela de cadastro de países
country	name	varchar	40	(null)	(null)	NO
energy	id	numeric	131089	(null)	energy_seq	NO		Tabela para totalização de informações que serão / utilizadas para os cálculos de geração. Energia Gerada, / Injetada, Temperatura, Disponibilidade... Tabela cuja / função é exclusivamente para guardar dados que são / Utilizados na generation.
energy	equipment_id	numeric	38	(null)	(null)	NO	equipment
energy	power_station_id	numeric	38	(null)	(null)	NO	power_station
energy	date_time	timestamp	29	(null)	(null)	NO
energy	active_energy	float8	17	(null)	(null)	NO
energy	reactive_energy	float8	17	(null)	(null)	NO
energy	irradiance	float8	17	(null)	(null)	NO
energy	generated_energy	float8	17	(null)	(null)	NO
energy	temperature	float8	17	(null)	(null)	NO
energy	availability	float8	17	(null)	(null)	NO
equipment	id	numeric	38	(null)	equipment_seq	NO		Tabela de cadastro de equipamentos da planta
equipment	name	varchar	40	(null)	(null)	NO
equipment	equipment_class_id	numeric	38	(null)	(null)	NO
equipment	power_station_id	numeric	38	(null)	(null)	NO
equipment	skid_id	numeric	38	(null)	(null)	YES	skid
equipment	equipment_type_id	numeric	38	(null)	(null)	NO	equipment_type
equipment	utr_ip_address	varchar	15	(null)	(null)	YES
equipment	ets_status	varchar	6	(null)	(null)	NO
equipment	ets	numeric	38	(null)	(null)	YES
equipment_class	id	numeric	38	(null)	equipment_class_seq	NO		Tabela de classes de equipamentos
equipment_class	name	varchar	50	(null)	(null)	NO
equipment_class	description	varchar	100	(null)	(null)	NO
equipment_class	equipment_type_id	numeric	38	(null)	(null)	NO	equipment_type
equipment_class	default_icon	varchar	255	(null)	(null)	YES
equipment_class	alarmed_icon	varchar	255	(null)	(null)	YES
equipment_class_config	id	numeric	38	(null)	equipment_class_config_seq	NO		Tabela com informações complementares das classes de equipamentos. Exemplo valor da potência nominal do inversor da usina: id description valueequipment_class_id 1 Potência Nominal 125 10
equipment_class_config	description	varchar	100	(null)	(null)	NO
equipment_class_config	value	varchar	20	(null)	(null)	NO
equipment_class_config	equipment_class_id	numeric	38	(null)	(null)	NO	equipment_class
equipment_type	id	numeric	38	(null)	(null)	NO		Tabela de tipo de equipamentos / 0 NENHUM / 1 COMBINERBOX / 2 INVERTER / 3 TRANSFORMER / 4 RELAY / 5 MEASURE / 6 METEOROLOGICAL STATION / 7 UTR / 8 TRACKER GROUP / 9 UG GROUP
equipment_type	name	varchar	25	(null)	(null)	NO
equipment_type_item	id	numeric	38	(null)	equipment_type_item_seq	NO		Tabela de cadastro item do tipo de equipamento
equipment_type_item	equipment_type_id	numeric	38	(null)	(null)	NO	equipment_type
equipment_type_item	name	varchar	255	(null)	(null)	NO
expected_data	id	numeric	131089	(null)	expected_data_seq	NO		Tabela de cadastro dos dados esperados de energia, / Irradiancia e PR de cada usina
expected_data	power_station_id	numeric	38	(null)	(null)	NO	power_station
expected_data	date	timestamp	29	(null)	(null)	NO
expected_data	energy	float8	17	(null)	(null)	NO
expected_data	performance_ratio	float8	17	(null)	(null)	NO
expected_data	irradiance	float8	17	(null)	(null)	NO
gateway	id	numeric	38	(null)	gateway_seq	NO		Tabela com informações dos gateways (IP, porta e filas) / utilizados pelas usinas
gateway	name	varchar	64	(null)	(null)	NO
gateway	ip_address	varchar	16	(null)	(null)	NO
gateway	port	int4	10	(null)	(null)	NO
gateway	tx_queue	varchar	64	(null)	(null)	NO
gateway	rx_queue	varchar	64	(null)	(null)	NO
gateway	notification_queue	varchar	64	(null)	(null)	NO
gateway	power_station_id	numeric	38	(null)	(null)	NO	power_station
generation	id	numeric	131089	(null)	generation_seq	NO		Tabela com o resumo dos calculos de energia do dia / das usinas
generation	power_station_id	numeric	38	(null)	(null)	NO	power_station
generation	date_time	timestamp	29	(null)	(null)	NO
generation	injected_energy	float8	17	Energia Injetada	(null)	YES
generation	irradiance	float8	17	Irradiação	(null)	YES
generation	yield	float8	17	Produtividade	(null)	NO
generation	performance_ratio	float8	17	PR	(null)	NO
generation	generated_energy	float8	17	Energia Gerada	(null)	YES
generation	expected_energy	float8	17	Energia esperada (MWh)	(null)	YES
generation	expected_performance_ratio	float8	17	PR esperado (%)	(null)	NO
generation	expected_irradiance	float8	17	Irradiação esperada (KWh/m2)	(null)	NO
generation	temperature	float8	17	Temperatura	(null)	NO
generation	capacity_factor	float8	17	Fator de Capacidade	(null)	NO
generation	availability	float8	17	Disponibilidade inversor	(null)	NO
generation	total_availability	float8	17	Disponibilidade rede	(null)	NO
generation	expected_yield	float8	17	Produtividade esperada	(null)	YES
generation	satelital_irradiance	float8	17	Irradiação via satelital	(null)	YES
generation	expected_capacity_factor	float8	17	Fator de Capacidade esperado	(null)	NO
generation_skid	id	numeric	131089	(null)	generation_skid_seq	NO		Tabela com o resumo dos calculos de energia do dia / da unidade geradora
generation_skid	power_station_id	numeric	38	(null)	(null)	NO	power_station
generation_skid	equipment_id	numeric	38	(null)	(null)	NO	equipment
generation_skid	date_time	timestamp	29	(null)	(null)	NO
generation_skid	injected_energy	float8	17	Energia Injetada	(null)	YES
generation_skid	irradiance	float8	17	Irradiação	(null)	YES
generation_skid	yield	float8	17	Produtividade	(null)	NO
generation_skid	performance_ratio	float8	17	PR	(null)	NO
generation_skid	generated_energy	float8	17	Energia Gerada	(null)	YES
generation_skid	expected_energy	float8	17	Energia esperada (MWh) da UG	(null)	YES
generation_skid	expected_performance_ratio	float8	17	PR esperado (%) da UG	(null)	NO
generation_skid	expected_irradiance	float8	17	Irradiação esperada (KWh/m2) da UG	(null)	NO
generation_skid	temperature	float8	17	Temperatura	(null)	NO
generation_skid	capacity_factor	float8	17	Fator de Capacidade	(null)	NO
generation_skid	availability	float8	17	Disponibilidade inversor	(null)	NO
generation_skid	total_availability	float8	17	Disponibilidade rede	(null)	NO
generation_skid	expected_yield	float8	17	Produtividade esperada	(null)	YES
generation_skid	skid_id	numeric	38	(null)	(null)	YES	skid
generation_skid	expected_capacity_factor	float8	17	Fator de Capacidade esperado	(null)	NO
macro_region	id	numeric	38	(null)	macroregion_seq	NO		Tabela de cadastro de macroregião
macro_region	name	varchar	50	(null)	(null)	NO
macro_region	latitude	float8	17	(null)	(null)	NO
macro_region	longitude	float8	17	(null)	(null)	NO
modbus_data_type	id	numeric	38	(null)	modbus_data_type_seq	NO		Tabela dos tipos de dados dos teleobjetos id name 1UnsignedInteger16 2Integer16 3Integer32 4UnsignedInteger16Bit 5Float16 6Float32 7String 8Boolean 9Time 10DateTime 11UnsignedFloat16 12FloatIEEE754 13UnsignedInteger32 14UnsignedInteger64 15BCD16 16BCD32 17BCD64 18UnsignedFloat32
modbus_data_type	name	varchar	20	(null)	(null)	NO
modbus_object_type	id	numeric	4	(null)	modbus_object_type_seq	NO		Tabela dos tipos de objetos idname 1Input Registers 2Holding Registers 3Discrete Input 4Coils
modbus_object_type	name	varchar	255	(null)	(null)	NO
power	id	numeric	131089	(null)	power_seq	NO		Tabela para coleta de Informações para gráficos de / dashboard (Potencia PU, Potencia x Irradiancia, etc). / E também contar a disponibilidade dos inversores.
power	equipment_id	numeric	38	(null)	(null)	NO	equipment
power	date_time	timestamp	29	(null)	(null)	NO
power	active_power	float8	17	(null)	(null)	YES
power	reactive_power	float8	17	(null)	(null)	NO
power	irradiance	float8	17	(null)	(null)	YES
power	power_station_id	numeric	38	(null)	(null)	NO	power_station
power	power_pu	float8	17	(null)	(null)	YES
power	availability	float8	17	(null)	(null)	YES
power_station	id	numeric	38	(null)	power_station_seq	NO		Tabela de cadastro das usinas
power_station	operation_sync_mode	varchar	1	(null)	(null)	NO
power_station	power_capacity_nominal	float8	17	Capacidade instalada (kWp)	(null)	NO
power_station	number_of_skids	numeric	4	Quantidade de UG na usina	(null)	NO
power_station	expected_generated_energy	float8	17	Producao de energia esperada no ano (MWh/year)	(null)	NO
power_station	expected_yield	float8	17	Produtividade esperada no ano (kWh/kWp/year)	(null)	NO
power_station	expected_performance_ratio	float8	17	Taxa de desempenho esperada no ano (%)	(null)	NO
power_station	expected_irradiance	float8	17	Irradiancia esperada no ano (kWh/m2/year)	(null)	NO
power_station	powerstation_k	float8	17	Constante que deve ser multiplicada a energia gerada do medidor	(null)	NO
power_station	meter_interval	numeric	4	Intervalo em minutos de medição do medidor	(null)	NO
power_station	operation_started_at	timestamp	29	Inicio de operação	(null)	YES
power_station	inverter_interval	numeric	4	Intervalo em minutos de medição dos inversores	(null)	NO
power_station	module_temperature_coefficient	float8	17	(null)	(null)	YES
power_station	max_power	float8	17	(null)	(null)	YES
power_station	power_station_status_id	numeric	38	(null)	(null)	YES	power_station_status
power_station	short_name	varchar	255	(null)	(null)	YES
power_station	name	varchar	255	(null)	(null)	YES
power_station_details	power_station_id	numeric	38	(null)	(null)	NO	power_station	Tabela detalhada das usinas como endereço, contato, / telefone, latitude e longitude
power_station_details	addr	bpchar	100	(null)	(null)	YES
power_station_details	state	bpchar	2	(null)	(null)	YES
power_station_details	zip_code	varchar	10	(null)	(null)	YES
power_station_details	phone1	varchar	16	(null)	(null)	YES
power_station_details	phone2	varchar	16	(null)	(null)	YES
power_station_details	phone3	varchar	16	(null)	(null)	YES
power_station_details	city_id	numeric	38	(null)	(null)	YES	city
power_station_details	admin_name	bpchar	40	(null)	(null)	YES
power_station_details	admin_email	varchar	30	(null)	(null)	YES
power_station_details	photo_folder	varchar	300	(null)	(null)	YES
power_station_details	plant_folder	varchar	300	(null)	(null)	YES
power_station_details	latitude	float8	17	(null)	(null)	YES
power_station_details	longitude	float8	17	(null)	(null)	YES
power_station_details	id	numeric	38	(null)	power_station_details_seq	NO
power_station_status	id	numeric	38	(null)	(null)	NO		Tabela com os status das usinas utilizados / 0 Normal / 1 Fora do ar / 2 Desconfigurado / 3 Configurado / 4 Desabilitado / 5 Desconhecido / 6 Modo local
power_station_status	name	varchar	20	(null)	(null)	NO
region	id	numeric	38	(null)	region_seq	NO		Tabela de cadastro de regiões
region	name	varchar	50	(null)	(null)	NO
region	macro_region_id	numeric	38	(null)	(null)	NO	macro_region
region	latitude	float8	17	(null)	(null)	NO
region	longitude	float8	17	(null)	(null)	NO
revision_info	id	numeric	38	(null)	(null)	NO		Tabela de informações de revisão
revision_info	username	varchar	60	(null)	(null)	NO
revision_info	timestamp	numeric	38	(null)	(null)	NO
skid	id	numeric	38	(null)	skid_seq	NO		Tabela de cadastro das Unidades Geradoras
skid	name	varchar	50	(null)	(null)	NO
skid	power_station_id	numeric	38	(null)	(null)	NO	power_station
state	id	numeric	38	(null)	state_seq	NO		Tabela de cadastro dos Estados do país
state	name	varchar	50	(null)	(null)	NO
state	abvname	varchar	2	(null)	(null)	NO
state	country_id	numeric	38	(null)	(null)	YES	country
state	region_id	numeric	38	(null)	(null)	YES	region
tele_object	id	numeric	38	(null)	tele_object_seq	NO		Tabela com informações dos teleobjetos
tele_object	tele_object_type_id	numeric	38	(null)	(null)	NO	tele_object_type
tele_object	name	varchar	150	(null)	(null)	NO
tele_object	alarmed_name	varchar	150	(null)	(null)	YES
tele_object	normal_name	varchar	150	(null)	(null)	YES
tele_object	short_name	varchar	10	(null)	(null)	YES
tele_object	tele_object_specification_type_id	numeric	38	(null)	(null)	NO	tele_object_specification_type
tele_object	alarm_severity_id	numeric	38	(null)	(null)	YES	alarm_severity
tele_object	modbus_object_type_id	numeric	38	(null)	(null)	YES	modbus_object_type
tele_object	modbus_data_type_id	numeric	38	(null)	(null)	YES	modbus_data_type
tele_object	equipment_class_id	numeric	38	(null)	(null)	YES	equipment_class
tele_object	variation	float8	17	(null)	(null)	YES
tele_object	unit	varchar	255	(null)	(null)	YES
tele_object	tele_object_convert_expression	varchar	100	(null)	(null)	YES
tele_object	point	numeric	38	(null)	(null)	YES
tele_object	normal_alarm_condition	varchar	80	(null)	(null)	YES
tele_object	discard_lower_limit	float8	17	(null)	(null)	YES
tele_object	discard_upper_limit	float8	17	(null)	(null)	YES
tele_object	create_event	bool	1	(null)	(null)	YES
tele_object	address	varchar	20	(null)	(null)	YES
tele_object_alarm_condition	id	numeric	38	(null)	tele_object_alarm_condition_seq	NO		Tabela de condição do teleobjeto alarmado
tele_object_alarm_condition	tele_object_id	numeric	38	(null)	(null)	YES	tele_object
tele_object_alarm_condition	alarm_severity_id	numeric	38	(null)	(null)	YES	alarm_severity
tele_object_alarm_condition	upper_limit	float8	17	(null)	(null)	YES
tele_object_alarm_condition	lower_limit	float8	17	(null)	(null)	YES
tele_object_alarm_condition	condition	varchar	255	(null)	(null)	YES
tele_object_config	id	numeric	38	(null)	tele_object_config_seq	NO		Tabela de configuração dos teleobjetos. Esta tabela / contem a posição física do teleobjeto na planta.
tele_object_config	equipment_id	numeric	38	(null)	(null)	NO	equipment
tele_object_config	status	bpchar	2	'10'	(null)	NO
tele_object_config	tele_object_specification_type_id	numeric	38	(null)	(null)	NO	tele_object_specification_type
tele_object_config	tele_object_position	numeric	38	(null)	(null)	NO
tele_object_config	tele_object_id	numeric	38	(null)	(null)	NO	tele_object
tele_object_specification_type	id	numeric	38	(null)	(null)	NO		Tabela de especificação do tipo de teleobjeto / 1 TELECOMMAND / 2 TELEMEASURE / 3 TELESINAL / 4 OBJ_TYPE_BINARY_INPUT / 5 OBJ_TYPE_BINARY_OUTPUT / 6 OBJ_TYPE_BINARY_COUNTER / 7 OBJ_TYPE_ANALOG_INPUT / 8 OBJ_TYPE_ANALOG_OUTPUT / 9 OBJ_TYPE_FILE
tele_object_specification_type	name	varchar	50	(null)	(null)	NO
tele_object_type	id	numeric	38	(null)	(null)	NO		Tabela do tipo de teleobjetos / 1 TELECOMANDO / 2 TELEMEDIDA / 3 TELESINAL / 4 ARQUIVO
tele_object_type	name	varchar	15	(null)	(null)	NO
tm_history	id	numeric	131089	(null)	tmhistory_id_seq	NO		Tabela com historico das telemedidas. / Tabela foi migrada para o influxdb
tm_history	high_level_to	numeric	38	(null)	(null)	NO	tele_object_config
tm_history	event_date	timestamp	29	(null)	(null)	NO
tm_history	value	float8	17	(null)	(null)	NO
tm_history	power_station_id	numeric	38	(null)	(null)	NO	power_station
user_authority_group	id	numeric	38	(null)	(null)	NO		Tabela de autorizações por grupo de usuários
user_authority_group	user_id	numeric	38	(null)	(null)	NO	users
user_authority_group	authority_group_id	numeric	38	(null)	(null)	NO	authority_group
users	id	numeric	38	(null)	users_seq	NO		Tabela de cadastro de usuários
users	name	varchar	60	(null)	(null)	NO
users	username	varchar	20	(null)	(null)	NO
users	password	varchar	100	(null)	(null)	NO
users	email	varchar	40	(null)	(null)	YES
users_authority_set	user_id	int8	19	(null)	(null)	NO		Tabela definição de autorização
users_authority_set	authority_set_id	int8	19	(null)	(null)	NO

*Dados cadastrados configuration
pathUpload	/home/sysadm/ssitfiles	Parametro para definir o caminho upload
linkGrafano	https://www.google.com.br	Parametro para definir link grafano
pathssit	/home/sysadm/ssit	Parametro para definir o caminho ssit
appType	UNIFILAR	Parametro para definir o tipo de sistema utilizado UNIFILAR ou LOCAL
minTicketLength	15
useTCTicket	0
mqttUser	ssit_mqtt_user	Parametro para definir usuario mqtt
mqttPwd	resutiss	Parametro para definir senha mqtt
energyType	G	Parametro para definir qual campo a ser utilizado para calculo energia: gerada (G) ou injetada (I)
prType	S	Parametro para uso PR S ou N
jmsPort	7005	Parametro para definir porta jms
mapServerAddr	ssit-map.corp.ati.com.br	Parametro para definir endereço site de mapas
teleObjectReportLimit	50000	Parametro para definir quantidade linhas relatório telemedidas
sobreAddr	0.0.0.0:7070
LimitChartInDaysReport	3
LimitChartLogReport	10000
windSpeedLimit	14	Parametro para definir limite máximo velocidade do vento
teleObjectCorrelationLimit	500000
timeWaitServer	20
messageAckConfirm	0
nomeCliente	Demo	Parametro para definir nome cliente utilizado para icone tela login
alarmAutoRefreshInterval	300	Parametro para definir intervalo de atualização tela alarmes
synopticAutoRefreshInterval	300	Parametro para definir intervalo de atualização tela sinoptico
visaGeralInterval	300	Parametro para definir intervalo de atualização tela visão geral
visaUsinaInterval	300	Parametro para definir intervalo de atualização tela visão usina

## V2_DE_PARA
TABLE_NAME	COLUMN_NAME	DATA_TYPE	COLUMN_SIZE	COLUMN_DESCRIPTION	SEQUENCE	IS_NULL	NEW_COLUMN_NAME	NEW_TABLE_NAME	DESCRIPTION		Colunas excluidas
alarm	alarm_code	numeric	38	(null)	alarm_code_seq	NO	id	alarm	Tabela alarm tinha os campos sss_code e / ets_code. Tabela sss removida e ets foram / migrados para tabela equipment		Tabelas excluidas
alarm	high_code	numeric	38	(null)	(null)	YES	tele_object_config_id				Tabelas migradas
alarm	severity_code	numeric	38	(null)	(null)	NO	alarm_severity_id
alarm	alarm_date	timestamp	29	(null)	(null)	NO	date_time
alarm	ack_date	timestamp	29	(null)	(null)	YES	acknowledgement_date
alarm	opr_code	numeric	38	(null)	(null)	YES	user_id
alarm	cleared_date	timestamp	29	(null)	(null)	YES	clear_date
alarm	info	varchar	250	(null)	(null)	YES	description
alarm	sss_code	numeric	38	(null)	(null)	NO
alarm	ets_code	numeric	38	(null)	(null)	YES
alarm	ack_text	varchar	500	(null)	(null)	YES	acknowledgement_note
alarm	sta_code	numeric	38	(null)	(null)	YES	power_station_id
alarm	equip_code	numeric	38	(null)	(null)	YES	equipment_id
alarm_severity	severity_code	numeric	38	(null)	(null)	NO	id	alarm_severity	Retirados campos assinalados
alarm_severity	name	varchar	20	(null)	(null)	NO	name
alarm_severity	send_bip	bpchar	1	(null)	(null)	NO
alarm_severity	acknow_type	numeric	38	(null)	(null)	NO
alarm_severity	color	bpchar	6	(null)	(null)	NO	color
alarm_severity	beep	numeric	38	(null)	(null)	NO
audit_log	auditlog_id	numeric	131089	(null)	auditlog_id_seq	NO			Tabela audit_log removida será criada em / outra instancia
audit_log	opr_code	numeric	38	(null)	(null)	NO
audit_log	audit_type	numeric	38	(null)	(null)	NO
audit_log	event_code	numeric	38	(null)	(null)	NO
audit_log	ets_code	numeric	38	(null)	(null)	YES
audit_log	sss_code	numeric	38	(null)	(null)	YES
audit_log	audit_date	timestamp	29	(null)	(null)	NO
audit_log	other_info	varchar	200	(null)	(null)	YES
audit_log	high_code	numeric	38	(null)	(null)	YES
authority	id	int8	19	(null)	(null)	NO	id	authority	Inserida coluna display_name
authority	name	varchar	255	(null)	(null)	NO	name
city	city_id	numeric	38	(null)	city_seq	NO	id	city
city	city_name	varchar	50	(null)	(null)	NO	name
city	state_id	numeric	38	(null)	(null)	NO	state_id
concentration_area	concent_area	numeric	38	(null)	concentarea_seq	NO
concentration_area	name	varchar	30	(null)	(null)	YES
concentration_area	sigla	varchar	10	(null)	(null)	YES
concentration_area	pos_x	numeric	38	(null)	(null)	YES
concentration_area	pos_y	numeric	38	(null)	(null)	YES
concentration_area	ligacao	bpchar	1	(null)	(null)	YES
config_mining	config_mining_id	numeric	131089	(null)	mining_id_seq	NO	mining_id	config_mining
config_mining	mining_name	varchar	100	(null)	(null)	NO	name
config_mining	mining_value	varchar	100	(null)	(null)	NO	value
config_mining	mining_id	numeric	38	(null)	(null)	NO	id
configuration	config_name	varchar	30	(null)	(null)	NO	name	configuration	Inserida coluna id
configuration	config_value	varchar	250	(null)	(null)	NO	value
correlation	correlation_id	numeric	38	(null)	correlation_seq	NO	id	correlation
correlation	opr_code	numeric	38	(null)	(null)	NO	user_id
correlation	correlation_name	varchar	50	(null)	(null)	NO	name
correlation	correlation_public	bool	1	(null)	(null)	NO	correlation_public
correlation	correlation_report_type	bpchar	1	C Correlação ou T Relatório de telemedidas	(null)	NO	report_type
correlation	correlation_graph_type	bpchar	1	I Individual ou U Unificado para a correlação	(null)	NO	graph_type
correlation	correlation_interval	numeric	38	(null)	(null)	NO	interval
correlation_item	correlation_item_id	numeric	38	(null)	correlation_item_seq	NO	id	correlation_item
correlation_item	correlation_id	numeric	38	(null)	(null)	NO	correlation_id
correlation_item	sta_code	numeric	38	(null)	(null)	NO	power_station_id
correlation_item	equip_code	numeric	38	(null)	(null)	NO	equipment_id
correlation_item	high_code	numeric	38	(null)	(null)	NO	tele_object_config_id
country	id	int8	19	(null)	(null)	NO	id	country
country	name	varchar	40	(null)	(null)	NO	name
data_type	data_type_id	numeric	38	(null)	data_type_seq	NO
data_type	data_type_name	varchar	20	(null)	(null)	NO
dual	column1	bool	1	(null)	(null)	YES
element	element_id	numeric	6	(null)	element_seq	NO
element	element_level	numeric	38	(null)	(null)	NO
element	parent_id	numeric	38	(null)	(null)	YES
element	element_type	numeric	38	(null)	(null)	YES
element	equip_code	numeric	38	(null)	(null)	NO
element_info	elementinfo_id	numeric	6	(null)	element_info_seq	NO
element_info	element_id	numeric	38	(null)	(null)	NO
element_info	high_code	numeric	38	(null)	(null)	NO
element_info	elementinfo_type	numeric	38	(null)	(null)	NO
element_info	elementinfo_show	bool	1	(null)	true	NO
element_relationship	element_id_head	numeric	6	(null)	(null)	NO
element_relationship	element_id_related	numeric	6	(null)	(null)	NO
energy	energy_id	numeric	131089	(null)	energy_id_seq	NO	id	energy
energy	equip_code	numeric	38	(null)	(null)	NO	equipment_id
energy	sta_code	numeric	38	(null)	(null)	NO	power_station_id
energy	energy_timestamp	timestamp	29	(null)	(null)	NO	date_time
energy	energy_active	float8	17	(null)	(null)	NO	active_energy
energy	energy_reactive	float8	17	(null)	(null)	NO	reactive_energy
energy	energy_irradiance	float8	17	(null)	(null)	NO	irradiance
energy	energy_generated	float8	17	(null)	(null)	NO	generated_energy
energy	energy_temperature	float8	17	(null)	(null)	NO	temperature
energy	energy_availability	float8	17	(null)	(null)	NO	availability
equip_model_to	toequip_code	numeric	38	(null)	equip_model_to_seq	NO
equip_model_to	equip_model	numeric	38	(null)	(null)	NO
equip_model_to	to_code	numeric	38	(null)	(null)	NO
equipment	equip_code	numeric	38	(null)	equip_code_seq	NO	id	equipment	Retirados campos assinalados / Incluidos campos skid_id, equipment_type_id, / utr_ip_adress, ets e ets_status
equipment	name	varchar	40	(null)	(null)	NO	name
equipment	equip_model	numeric	38	(null)	(null)	NO	equipment_class_id
equipment	sta_code	numeric	38	(null)	(null)	NO	power_station_id
equipment	serial_number	varchar	60	(null)	(null)	YES
equipment	other_info	varchar	200	(null)	(null)	YES
equipment	abvname	varchar	10	(null)	(null)	NO
equipment	external_link	varchar	100	(null)	(null)	YES
equipment	login	varchar	10	(null)	(null)	YES
equipment	password	varchar	20	(null)	(null)	YES
equipment_icons	equipicon_id	numeric	38	(null)	equipment_icons_seq	NO			Icones migrados para tabela equipment_model
equipment_icons	equipicon_name	varchar	255	(null)	(null)	NO
equipment_icons	equipicon_default	varchar	255	(null)	(null)	NO
equipment_icons	equipicon_normal	varchar	255	(null)	(null)	NO
equipment_icons	equipicon_alarm	varchar	255	(null)	(null)	NO
equipment_model	equip_model	numeric	38	(null)	equipment_model_seq	NO	id	equipment_class	Retirados campos assinalados / Incluidos campos default_icon e alarmed_icon
equipment_model	name	varchar	50	(null)	(null)	NO	name
equipment_model	other_info	varchar	100	(null)	(null)	NO	description
equipment_model	to_watch	numeric	38	(null)	(null)	YES
equipment_model	equipicon_id	numeric	38	(null)	(null)	YES	equipment_type_id
equipment_model	additional_info	varchar	20	(null)	(null)	YES
ets	ets_code	numeric	38	(null)	(null)	NO			Ets foi migrado para tabela equipment
ets	sss_code	numeric	38	(null)	(null)	NO
ets	sta_code	numeric	38	(null)	(null)	NO
ets	status	bpchar	6	(null)	'110100'::bpchar	NO
ets	utr_ip	varchar	16	(null)	(null)	YES
expected_data	expected_data_id	numeric	131089	(null)	expected_data_seq	NO	id	expected_data
expected_data	sta_code	numeric	38	(null)	(null)	YES	power_station_id
expected_data	exp_timestamp	timestamp	29	(null)	(null)	YES	date
expected_data	exp_energy	float8	17	(null)	(null)	YES	energy
expected_data	exp_pr	float8	17	(null)	(null)	YES	performance_ratio
expected_data	exp_irradiance	float8	17	(null)	(null)	YES	irradiance
filter	id	numeric	38	(null)	filter_seq	NO
filter	name	varchar	50	(null)	(null)	NO
filter	opr_code	numeric	38	(null)	(null)	NO
filter_item	id	numeric	38	(null)	(null)	NO
filter_item	filter_id	numeric	38	(null)	(null)	NO
filter_item	filter_item_type	char	1	(null)	(null)	NO
filter_item	id_item	numeric	38	(null)	(null)	NO
filter_item	operador	char	1	(null)	(null)	NO
gateway	gateway_id	numeric	38	(null)	gateway_seq	NO	id	gateway	Incluido campo power_station_id
gateway	gateway_name	varchar	64	(null)	(null)	NO	name
gateway	gateway_ip	varchar	16	(null)	(null)	NO	ip_address
gateway	gateway_port	int4	10	(null)	(null)	NO	port
gateway	gateway_tx_queue	varchar	64	(null)	(null)	NO	tx_queue
gateway	gateway_rx_queue	varchar	64	(null)	(null)	NO	rx_queue
gateway	gateway_notif_queue	varchar	64	(null)	(null)	NO	notification_queue
gateway_sss_rel	gateway_id	numeric	38	(null)	(null)	NO
gateway_sss_rel	sss_code	numeric	38	(null)	(null)	NO
generation	gen_id	numeric	131089	(null)	gen_id_seq	NO	id	generation
generation	sta_code	numeric	38	(null)	(null)	NO	power_station_id
generation	gen_daytime	timestamp	29	(null)	(null)	NO	date_time
generation	gen_energy	float8	17	Energia Injetada	(null)	YES	injected_energy
generation	gen_irradiance	float8	17	Irradiação	(null)	YES	irradiance
generation	gen_yield	float8	17	Produtividade	(null)	NO	yield
generation	gen_pr	float8	17	PR	(null)	NO	performance_ratio
generation	gen_energy_gen	float8	17	Energia Gerada	(null)	YES	generated_energy
generation	exp_energy	float8	17	Energia esperada (MWh)	(null)	YES	expected_energy
generation	exp_pr	float8	17	PR esperado (%)	(null)	NO	expected_performance_ratio
generation	exp_irradiance	float8	17	Irradiação esperada (KWh/m2)	(null)	NO	expected_irradiance
generation	gen_temperature	float8	17	Temperatura	(null)	NO	temperature
generation	gen_capacity_factor	float8	17	Fator de Capacidade	(null)	NO	capacity_factor
generation	gen_availability	float8	17	(null)	(null)	NO	availability
generation	gen_total_availability	float8	17	(null)	(null)	NO	total_availability
generation	exp_yield	float8	17	(null)	(null)	YES	expected_yield
generation	gen_irradiance_sat	float8	17	(null)	(null)	YES	satelital_irradiance
generation	expected_capacity_factor	float8	17	(null)	(null)	YES	expected_capacity_factor
generation_ug	gen_ug_id	numeric	131089	(null)	gen_ug_id_seq	NO	id	generation_ug	Incluido campo skid_id
generation_ug	sta_code	numeric	38	(null)	(null)	NO	power_station_id
generation_ug	equip_code	numeric	38	(null)	(null)	NO	equipment_id
generation_ug	gen_daytime	timestamp	29	(null)	(null)	NO	date_time
generation_ug	gen_energy	float8	17	Energia Injetada	(null)	YES	injected_energy
generation_ug	gen_irradiance	float8	17	Irradiação	(null)	YES	irradiance
generation_ug	gen_yield	float8	17	Produtividade	(null)	NO	yield
generation_ug	gen_pr	float8	17	PR	(null)	NO	performance_ratio
generation_ug	gen_energy_gen	float8	17	Energia Gerada	(null)	YES	generated_energy
generation_ug	exp_energy	float8	17	Energia esperada (MWh) da UG	(null)	YES	expected_energy
generation_ug	exp_pr	float8	17	PR esperado (%) da UG	(null)	NO	expected_performance_ratio
generation_ug	exp_irradiance	float8	17	Irradiação esperada (KWh/m2) da UG	(null)	NO	expected_irradiance
generation_ug	gen_temperature	float8	17	Temperatura	(null)	NO	temperature
generation_ug	gen_capacity_factor	float8	17	Fator de Capacidade	(null)	NO	capacity_factor
generation_ug	gen_availability	float8	17	(null)	(null)	NO	availability
generation_ug	gen_total_availability	float8	17	(null)	(null)	NO	total_availability
generation_ug	exp_yield	float8	17	(null)	(null)	YES	expected_yield
generation_ug	expected_capacity_factor	float8	17	(null)	(null)	YES	expected_capacity_factor
high_level_to	high_code	numeric	38	(null)	(null)	NO	id	tele_object_config	Incluidos campos tele_object_position, / tele_object_specification_type e / tele_object_id / Retirados campos assinalados
high_level_to	toequip_code	numeric	38	(null)	(null)	NO
high_level_to	equip_code	numeric	38	(null)	(null)	NO	equipment_id
high_level_to	status	bpchar	2	'10'::bpchar	(null)	NO	status
high_level_to	low_code	numeric	38	(null)	(null)	NO
high_level_to	info	varchar	30	(null)	(null)	YES
link	link_id	numeric	131089	(null)	link_id_seq	NO
link	source	numeric	38	(null)	(null)	YES
link	target	numeric	38	(null)	(null)	YES
link	source_type	bpchar	1	(null)	(null)	YES
link	target_type	bpchar	1	(null)	(null)	YES
link	concent_area	numeric	38	(null)	(null)	YES
link	outside_area_source	numeric	38	(null)	(null)	YES
link	outside_area_target	numeric	38	(null)	(null)	YES
low_level_to	low_code	numeric	38	(null)	(null)	NO			to_pos migrado para tele_object_config / (tele_object_position)
low_level_to	sss_code	numeric	38	(null)	(null)	NO
low_level_to	ets_code	numeric	38	(null)	(null)	NO
low_level_to	to_pos	numeric	38	(null)	(null)	NO
low_level_to	to_spec_type	numeric	38	(null)	(null)	NO
macroregion	macroregion_id	numeric	38	(null)	macroregion_seq	NO	id	macroregion
macroregion	macroregion_name	varchar	50	(null)	(null)	NO	name
macroregion	latitude	float8	17	(null)	(null)	NO	latitude
macroregion	longitude	float8	17	(null)	(null)	NO	longitude
object_type	object_type_id	numeric	4	(null)	object_type_seq	NO	id	modbus_object_type
object_type	object_type_name	varchar	255	(null)	(null)	NO	name
operator	opr_code	numeric	38	(null)	operator_code_seq	NO	id	users	Retirados os campos assinalados
operator	opl_code	numeric	38	(null)	(null)	NO
operator	opr_name	varchar	60	(null)	(null)	NO	name
operator	opr_login	varchar	20	(null)	(null)	NO	username
operator	opr_password	varchar	40	(null)	(null)	NO	password (100)
operator	opr_phone	varchar	16	(null)	(null)	YES
operator	opr_email	varchar	40	(null)	(null)	YES	email
operator	opr_isenable	bpchar	1	1	(null)	NO
operator	opr_address	varchar	100	(null)	(null)	YES
operator	opr_cpf	varchar	14	(null)	(null)	YES
operator	opr_initialdate	date	13	(null)	(null)	YES
operator	opr_expiredateisneeded	bpchar	1	(null)	(null)	YES
operator	opr_expiredate	date	13	(null)	(null)	YES
operator	opr_mustchangepasswordonloing	bpchar	1	(null)	(null)	YES
operator	opr_mustchangepassword	date	13	(null)	(null)	YES
operator	opr_filter_default	numeric	38	(null)	(null)	YES
operator_level	opl_code	numeric	38	(null)	operator_level_seq	NO
operator_level	opl_name	varchar	40	(null)	(null)	NO
operator_level	opl_desc	varchar	60	(null)	(null)	YES
operator_logged_in	session_id	varchar	100	(null)	(null)	NO
operator_logged_in	opr_code	numeric	38	(null)	(null)	NO
operator_logged_in	login	varchar	20	(null)	(null)	NO
operator_logged_in	host_name	varchar	100	(null)	(null)	NO
operator_logged_in	host_ip	varchar	40	(null)	(null)	NO
operator_logged_in	initial_date	timestamp	29	(null)	(null)	NO
operator_logged_in	last_refresh	timestamptz	35	(null)	(null)	NO
opl_sp_rel	opl_code	numeric	38	(null)	(null)	NO
opl_sp_rel	spid	numeric	38	(null)	(null)	NO
power	power_id	numeric	131089	(null)	power_id_seq	NO	id	power
power	equip_code	numeric	38	(null)	(null)	NO	equipment_id
power	power_timestamp	timestamp	29	(null)	(null)	NO	date_time
power	power_active	float8	17	(null)	(null)	YES	active_power
power	power_reactive	float8	17	(null)	(null)	NO	reactive_power
power	power_irradiance	float8	17	(null)	(null)	YES	irradiance
power	sta_code	numeric	38	(null)	(null)	NO	power_station_id
power	power_pu	float8	17	(null)	(null)	YES	power_pu
power	power_availability	float8	17	(null)	(null)	YES	availability
power_station	powerstation_id	numeric	6	(null)	power_station_seq	NO		power_station	Retirados campos assinalados / Incluidos campos short_name, name e / power_station_status_id
power_station	sta_code	numeric	38	(null)	(null)	NO	id
power_station	powerstation_mode	varchar	1	(null)	(null)	NO	operation_sync_mode
power_station	powerstation_nominal	float8	17	Capacidade instalada (kWp)	(null)	NO	power_capacity_nominal
power_station	powerstation_ug	numeric	4	Quantidade de UG na usina	(null)	NO	number_of_skids
power_station	powerstation_energy	float8	17	Producao de energia esperada no ano (MWh/year)	(null)	NO	expected_generated_energy
power_station	powerstation_yield	float8	17	Produtividade esperada no ano (kWh/kWp/year)	(null)	NO	expected_yield
power_station	powerstation_pr	float8	17	Taxa de desempenho esperada no ano (%)	(null)	NO	expected_performance_ratio
power_station	powerstation_irradiance	float8	17	Irradiancia esperada no ano (kWh/m2/year)	(null)	NO	expected_irradiance
power_station	powerstation_k	float8	17	Constante que deve ser multiplicada a energia gerada do medidor	(null)	NO	power_station_k
power_station	powerstation_interval	numeric	4	Intervalo em minutos de medição do medidor	(null)	NO	meter_interval
power_station	powerstation_dt_operation	timestamp	29	(null)	(null)	YES	operation_started_at
power_station	powerstation_inv_interval	numeric	4	Intervalo em minutos de medição dos inversores	(null)	NO	inverter_interval
power_station	powerstation_mod_coefficient	float8	17	(null)	(null)	YES	module_temperature_coefficient
power_station	powerstation_max_power	float8	17	(null)	(null)	YES	max_power
region	region_id	numeric	38	(null)	region_seq	NO	id	region
region	region_name	varchar	50	(null)	(null)	NO	name
region	macroregion_id	numeric	38	(null)	(null)	NO	macro_region_id
region	latitude	float8	17	(null)	(null)	NO	latitude
region	longitude	float8	17	(null)	(null)	NO	longitude
sss	sss_code	numeric	38	(null)	sss_seq	NO
sss	name	varchar	50	(null)	(null)	NO
sss	status	bpchar	1	(null)	0	NO
sss	ip	varchar	15	(null)	(null)	NO
sss	port	numeric	38	(null)	(null)	NO
sss	region_id	numeric	38	(null)	(null)	NO
state	state_id	numeric	38	(null)	state_seq	NO	id	state	Incluidos campos region_id e country_id
state	state_name	varchar	50	(null)	(null)	NO	name
state	state_abvname	varchar	2	(null)	(null)	NO	abvname
station	sta_code	numeric	38	(null)	station_code_seq	NO	power_station_id	power_station_details	Incluido campo id
station	name	varchar	30	(null)	(null)	NO
station	sigla	varchar	5	(null)	(null)	NO
station	addr	bpchar	100	(null)	(null)	YES	addr
station	city	varchar	30	(null)	(null)	YES
station	state	bpchar	2	(null)	(null)	YES	state
station	zip_code	varchar	10	(null)	(null)	YES	zip_code
station	phone1	varchar	16	(null)	(null)	YES	phone1
station	phone2	varchar	16	(null)	(null)	YES	phone2
station	phone3	varchar	16	(null)	(null)	YES	phone3
station	pos_x	numeric	38	(null)	(null)	YES
station	pos_y	numeric	38	(null)	(null)	YES
station	city_id	numeric	38	(null)	(null)	YES	city_id
station	admin_name	bpchar	40	(null)	(null)	YES	admin_name
station	admin_email	varchar	30	(null)	(null)	YES	admin_email
station	concent_area	numeric	38	(null)	(null)	YES
station	path_foto	varchar	300	(null)	(null)	YES	photo_folder
station	path_planta	varchar	300	(null)	(null)	YES	plant_folder
station	latitude	float8	17	(null)	(null)	YES	latitude
station	longitude	float8	17	(null)	(null)	YES	longitude
station	additional_info	varchar	20	(null)	(null)	YES
system_permission	spid	numeric	38	(null)	(null)	NO
system_permission	spname	varchar	40	(null)	(null)	NO
system_permission	spdesc	varchar	100	(null)	(null)	NO
tag_to	tag_code	numeric	38	(null)	(null)	NO
tag_to	tag_name	varchar	50	(null)	(null)	NO
tm_history	tmhistory_id	numeric	131089	(null)	tmhistory_id_seq	NO			Tabela migrada para infludb
tm_history	high_code	numeric	38	(null)	(null)	NO
tm_history	tm_raw_value	numeric	38	(null)	(null)	NO
tm_history	event_date	timestamp	29	(null)	(null)	NO
tm_history	tm_value	float8	17	(null)	(null)	NO
tm_history	sta_code	numeric	38	(null)	(null)	YES
tm_value	tmvalue_id	numeric	131089	(null)	tmvalue_id_seq	NO
tm_value	high_code	numeric	38	(null)	(null)	NO
tm_value	tm_raw_value	numeric	38	(null)	(null)	NO
tm_value	event_date	timestamp	29	(null)	(null)	NO
tm_value	tm_value	float8	17	(null)	(null)	NO
tm_value	sta_code	numeric	38	(null)	(null)	NO
to_class	class_id	numeric	6	(null)	to_class_seq	NO			Migrados para tabela tele_object
to_class	to_code	numeric	38	(null)	(null)	NO
to_class	severity_code	numeric	38	(null)	(null)	NO
to_class	classmap_address	varchar	20	(null)	(null)	YES
to_class	classmap_data_fit	varchar	100	(null)	(null)	YES
to_class	classmap_unit	varchar	20	(null)	(null)	YES
to_class	classmap_note	varchar	1500	(null)	(null)	YES
to_class	classmap_create_event	bool	1	(null)	(null)	NO
to_class	object_type_id	numeric	4	(null)	(null)	YES
to_class	classmap_point	numeric	38	(null)	(null)	NO
to_class	classmap_normalized	varchar	80	(null)	(null)	YES
to_class	data_type_id	numeric	38	(null)	(null)	NO
to_class	classmap_variation	float8	17	(null)	(null)	YES
to_class	classmap_lim_inf	float8	17	(null)	(null)	YES
to_class	classmap_lim_sup	float8	17	(null)	(null)	YES
to_class	variables	varchar	100	(null)	(null)	YES
to_model	to_code	numeric	38	(null)	tomodel_code_seq	NO	id	tele_object	Incluidos campos da to_class / Retirado campo assinalado
to_model	to_type	numeric	38	(null)	(null)	NO	tele_object_type_id
to_model	name	varchar	150	(null)	(null)	NO	name
to_model	tag_code	numeric	38	(null)	(null)	YES
to_model	name_alarmed	varchar	150	(null)	(null)	YES	alarmed_name
to_model	name_normal	varchar	150	(null)	(null)	YES	normal_name
to_model	abvname	varchar	10	(null)	(null)	YES	short_name
to_model	to_spec_type_id	numeric	38	(null)	(null)	NO	tele_object_specification_type_id
to_spec_type	to_spec_type_id	numeric	38	(null)	(null)	NO
to_spec_type	to_spec_type_name	varchar	50	(null)	(null)	NO
to_tc	tc_id	numeric	38	(null)	to_tc_seq	NO
to_tc	to_code	numeric	38	(null)	(null)	NO
to_tc	pulse_type	numeric	38	(null)	(null)	NO
to_tc	pulse_time	numeric	38	(null)	(null)	NO
to_tm	tm_id	numeric	38	(null)	to_tm_seq	NO
to_tm	to_code	numeric	38	(null)	(null)	NO
to_tm	unity	varchar	10	(null)	(null)	NO
to_tm	conv_bit_number	numeric	38	(null)	(null)	NO
to_tm	severity_code	numeric	38	(null)	(null)	NO
to_tm	percent_to_record	numeric	38	(null)	(null)	YES
to_tm	lim_inf	float8	17	(null)	(null)	NO
to_tm	gain	float8	17	(null)	(null)	NO
to_tm	scale_up	float8	17	(null)	(null)	NO
to_tm	scale_down	float8	17	(null)	(null)	NO
to_tm	lim_sup	float8	17	(null)	(null)	NO
to_tm	off_set	float8	17	(null)	(null)	NO
to_to	to_source	numeric	38	(null)	(null)	NO
to_to	to_target	numeric	38	(null)	(null)	NO
to_to	time_to_change	numeric	38	(null)	(null)	YES
to_ts	ts_id	numeric	38	(null)	to_ts_seq	NO
to_ts	to_code	numeric	38	(null)	(null)	NO
to_ts	alarmed_state	bpchar	1	(null)	(null)	NO
to_ts	severity_code	numeric	38	(null)	(null)	NO
users	id	int8	19	(null)	(null)	NO			Tabela operator renomeada para users
users	name	varchar	255	(null)	(null)	NO
users	password	varchar	255	(null)	(null)	NO
users	username	varchar	255	(null)	(null)	NO
users_authority_set	user_id	int8	19	(null)	(null)	NO	user_id	users_authority_set
users_authority_set	authority_set_id	int8	19	(null)	(null)	NO	authority_set_id